| TYPE | TR72 |
| --- | --- |
| SIZE | 21.8*16.6*14.7 |
| CONTACT | Arrangement | SP SPDT |
|  | Ratings | 10A 120VAC/28VDC |
| COIL | Normal Voltage | DC | 3 to 48V |
|  |  | AC | - |
|  | Normal Power | 0.45W |
| Break down voltage | Between Contact | 750VAC |
|  | Between all Elements | 2000VAC |
| Insulation Resistance | DC 500V 100MΩ |
| LIFE | Mechanical | 10x1000000 |
|  | Electric | 10x10000 |
| TERMINAL TYPE | P.C. Board |
| STANDARDS | UL | E156521 |
|  | TUV | LR075815 |
|  | CUL |  |
| BOTTOM VIEW |  |